Faculty of Engineering, Architecture and Science

Department of Mechanical, Industrial, and Mechatronics Engineering

| Program | Electrical Engineering |
| --- | --- |
| Course Number | ELE846 |
| Course Title | Power Systems Protection Control |
| Semester/Year | W2026 |
| Instructor | Dr. Richard Cheung |

| Lab/Tutorial Report NO. | Lab Report #3 |
| --- | --- |

| Report Title | ELE846 Lab Project 3: Protection Systems Design and Verification |
| --- | --- |

| Section No. | 01 |
| --- | --- |
| Submission Date | April 6, 2026 |
| Due Date | April 6, 2026 |

| Name | Student ID | Signature* |
| --- | --- | --- |
| Shai Mourad | 501170415 |  |
| Mashal Joyaa | 500916031 | MJ |

*By signing above you attest that you have contributed to this submission and confirm that all

work you have contributed to this submission is your own work. Any suspicion of copying or

plagiarism in this work will result in an investigation of Academic Misconduct and may result

in a “0” on the work, an “F” in the course, or possibly more severe penalties, as well as a

Disciplinary Notice on your academic record under the Student Code of Academic Conduct,

which can be found online at:

https://www.torontomu.ca/senate/policies/pol60.pdf.

## Introduction

Power systems protection control is crucial for creating a stable, reliable, and safe modern electrical network. With many generators and transmission lines, issues such as faults and sudden load changes can impact the overall performance. Effective protection methods and control strategies need to be implemented to ensure system stability and to prevent equipment damage.

This project designs a protection system within a multi-machine power network using three generators, multiple transformers, and a load center modeled as an infinite bus. The study explores two main concepts: transient stability control and turbine-governor response under changing load conditions. The first, transient stability control makes sure the system can withstand severe disturbances like faults on transmission lines (without losing synchronization). Turbine-governor control plays a key role in regulating system frequency and redistributing generation following load variations.

The lab designs a transient stability control strategy for Generator G1 under worst-case fault conditions. This develops a protection scheme for instability prevention and response analysis while determining the maximum load capacity without exceeding generator limits. Overall, this experiment provides a comprehensive understanding of coordinated protection and control in power systems.

## Results

Fig. 1. ETAP load flow results for Lab 3, Part 1.

Fig. 2. ETAP star view of protection and coordination for Bus 14b.

Fig. 3. ETAP star view of protection and coordination for Bus 14a.

Fig. 4. ETAP star view of protection and coordination for Bus 2.

Fig. 5. ETAP star protection coordination diagram for Bus 3.

## Conclusion

In this project, a multi-machine network has system protection and control developed. Transient stability control design shows the importance of fast fault detection while maintaining the system’s synchronization (mainly under worst-case G1 scenarios). The protection for Bus 1 and 4 ensures this security and stability.

Through analysis, dynamic interaction between load changes and generator outputs was observed. After a large increase in load demand, the generators properly redistributed the power according to their droop characteristics, ultimately restoring system frequency to its nominal value. This behavior proves frequency control is extremely effective in regards to system balance.

The maximum load capacity at bus 4 was found, and emphasized operational limits of the generators and the necessity of respecting these constraints to avoid overloading. To conclude, the project illustrates the importance of coordinated protection control for a stable and reliable power system [1].

## References

[1] ELE846 Lab Manual, “Protection Systems Design and Verification,” 2026.

## Appendix (Calculations)

### Part 1)

### Part 2)